## Bioinfiltration Bioretention
Maintenance Activity | Frequency | Date of Maintenance
Water vegetation at the end of each day for two weeks after planting is completed. | Daily for two weeks after installation
Water vegetation regularly to ensure successful establishment after planting. | Every four days during periods of four or more days without rain, June through August for the first year after installation.
Inspect inlet controls, outlet structures, and storage areas for trash and sediment accumulation. Remove debris and sediment as necessary. | Monthly for the first year after installation
Remulch void areas. | Semiannually during Growing Season
Inspect vegetation for signs of disease or distress. Treat diseased trees and shrubs or replace as necessary. | Biweekly for the first year after installation/Quarterly
Remove any invasive vegetation by hand. | Monthly
Thin overgrown areas of vegetation. | Monthly
Keep overflow free and clear of leaves. | Monthly
Inspect soil and repair eroded areas. | Monthly
Remove litter and debris. | Monthly
Clear leaves and debris from overflow. | Monthly
Inspect trees and shrubs to evaluate health, replacing if necessary. | Quarterly
Inspect underdrain cleanouts. | Quarterly
Ensure river rock layout is sufficient to dissipate flow and check for downstream erosion. Replace river rock as necessary and repair erosion issues. | Quarterly
Inspect for sediment build-up, erosion, and vegetative conditions. Remove sediment build-up, stabilize eroded areas and add vegetation if necessary. | Quarterly
Evaluate the drain down time of the SMP after a storm of at least one inch in no more than 24-hours to ensure an SMP drain down time of less than 72 hours. | Concurrent with Storm Events
Notes:

## Porous Pavement
Maintenance Activity | Frequency | Date of Maintenance
Inspect erosion control and flow spreading devices until soil settlement and vegetative establishment of contributing areas has occurred. | Biweekly
Mow grass in permeable paver or grid systems that have been planted with grass. | Biweekly
Vacuum porous asphalt or concrete surfaces with regenerative air sweeper or commercial vacuum sweeper (traditional street sweepers are not appropriate). Replace pea gravel in paver void areas after vacuuming. Consult with a professional for proper techniques. | Annual (non-vehicular traffic areas)
Semiannually (vehicular areas)
Vacuum inlet structures within or draining to the structural SMP beneath the porous pavement surface. | Semiannually
Inspect underdrain cleanouts, if any. | Semiannually
Notes:

## Green Roof
Maintenance Activity | Frequency | Date of Maintenance
Water vegetation at the end of each day for two weeks after planting is completed. | Daily for two weeks after installation
Water vegetation regularly to ensure successful establishment after planting. | Every four days during periods of four or more days without rain, June through August for the first year after installation.
Thin overgrown areas of vegetation. | Monthly
Remove debris and sediment from impervious areas adjacent to green roof vegetation. | Monthly
Inspect vegetation for signs of disease or distress. Treat or replace as necessary. | Biweekly for the first year after installation/Quarterly
Roof drains must be cleared when soil substrate, vegetation, debris or other materials clog the drain inlet. Under normal operating conditions, all roof discharge must be filtered and medium must not be vulnerable to migration toward the drains. Sources of sediment and debris must be identified and corrected. | Quarterly
Plant material must be maintained to provide a minimum of 90% foliage cover during warm months. If coverage rate is declining, determine the reason (e.g., soil nutrition or soil moisture conditions) and implement remedial measures. Consult with a professional for remediation measures. | Quarterly
Weed non-target/invasive plants. Preferentially, weeding must be done manually, with herbicide use limited to extreme instances of weed infestations that compromise the plant cover integrity. Weeds must be removed entirely. | Monthly - During Growing Season
Inspect root development. If root zone is not well developed, determine the reason (e.g., soil nutrition or soil moisture conditions) and implement remedial measures. Consult with a professional for remediation measures. | Quarterly
Projects with permanent irrigation must be inspected and irrigation dosing rates adjusted to optimize plant performance and water use efficiency. | Quarterly
Growing medium must be inspected for evidence of erosion from wind or water. If erosion channels are evident, a problem with the drainage system or with the green roof medium is indicated. Surface ponding or runoff must not occur except during very large rainfall events. After correcting the problem, refresh the affected areas with additional growth medium and provide temporary soil stabilization. Consult with the Green Roof Manufacture for guidance on making repairs to green roof. | Quarterly
Manually cut detrital herbaceous vegetation from the previous growing season to four to six inches above the ground. | Annually
Inspect drain inlet pipe and containment system. | Annually
Test growing medium for soluble nitrogen content. Fertilize as needed. | Annually
Notes:

## Subsurface Infiltration
Maintenance Activity | Frequency | Date of Maintenance
Inspect erosion control and flow spreading devices until soil settlement and vegetative establishment of contributing areas has occurred. | Biweekly
Inspect inlet controls, outlet structures, and storage areas for trash and sediment accumulation. Remove debris and sediment as necessary. | Quarterly
Regularly clean out gutters and catch basins to reduce sediment load to infiltration SMP. Clean intermediate sump boxes, replace filters, and otherwise clean pretreatment areas in directly connected systems. | Quarterly
Remove sediment and debris from subsurface infiltration SMP pretreatment sediment/grit chamber or separator, if applicable, when the sediment zone is 3/4 full. Sediment and debris build up may need to be removed by a professional. Consult with a professional as necessary. | Quarterly
Remove sediment and debris from pipe/vault systems. Sediment depth is not to reach a maximum depth of four inches below the SMP’s outlet invert elevation. Removal of sediment from grid systems must be per manufacturer’s recommendations or as per the site-specific maintenance plan. | Quarterly
Replace filter bags for pre-treatment devices. Please ensure filter bag is installed properly. | Quarterly
Inspect subsurface infiltration facility and control structures. | Quarterly
Remove floating debris and accumulated petroleum products from the system and all components. | Quarterly
Evaluate the drain down time of the SMP after a storm of at least one inch to ensure a SMP drain down time of less than 72 hours. | Concurrent with Storm Events
Notes:

## Cistern
Maintenance Activity | Frequency | Date of Maintenance
Inspect inlet structures, outlet structures, and storage areas for trash and sediment accumulation. | Monthly for the first year after installation.
Regularly clean out gutters, gutter screening, first-flush chamber, and catch basins to reduce sediment load to the cistern. Clean intermediate sump boxes, replace filters, and otherwise clean pretreatment areas in directly connected systems. | Monthly
Remove sediment and debris from cisterns according to the manufacturer’s recommendations or the site-specific maintenance plan. | Monthly
Test sediment in accordance with federal, state and local agencies for toxicants in compliance with current disposal requirements if land uses in the catchment include commercial or industrial zones, or if indications of pollution are present. | Quarterly
Brush the inside surfaces and thoroughly disinfect. | Annually
Prior to freezing weather, to avoid structural damage perform winterization of cisterns as per manufacturer’s requirements or design professional’s specifications. | Annually
Inspect cistern and control structures for defects and proper operation. | Quarterly
Remove floating debris and accumulated petroleum products from system and all components. | Quarterly
Notes:

## Blue Roof
Maintenance Activity | Frequency | Date of Maintenance
Inspect outlet structures and storage areas for trash and sediment accumulation. | Monthly for the first year after installation
Remove debris from drainage outlets and outlet screens to prevent clogging. | Monthly
Remove debris from secondary drainage/overflows. | Monthly
Remove excessive buildup of sediment around the outlet controls or within the storage cells. | Monthly
Inspect for leaks. | Monthly
Inspect for ice formation around outlets and overflows. | Biweekly - During Winter Season
Notes:

## Subsurface Detention
Maintenance Activity | Frequency | Date of Maintenance
Inspect erosion control and flow spreading devices until soil settlement and vegetative establishment of contributing areas has occurred after installation. | Biweekly
Inspect inlet controls, outlet structures, and storage areas for trash and sediment accumulation. Remove debris and sediment as necessary. | Monthly for the first year after installation/Quarterly
Regularly clean out gutters and catch basins to reduce sediment load to detention system. Clean intermediate sump boxes, replace filters, and otherwise clean pretreatment areas in directly connected systems. | Monthly
Remove sediment and debris from subsurface detention SMP pretreatment sediment/grit chamber or separator, if applicable, when the sediment zone is 3/4 full. Sediment and debris build up may need to be removed by a professional. Consult with a professional as necessary. | Monthly
Remove sediment and debris from pipe/vault systems. Sediment depth is not to reach a maximum depth of four inches below the SMP’s outlet invert elevation. Removal of sediment from grid systems must be per manufacturer’s recommendations or as per the site-specific maintenance schedule. | Monthly
Inspect subsurface detention facility and control structures. | Quarterly
Remove floating debris and accumulated petroleum products from system and all components. | Quarterly
Notes:

## Media Filter
Maintenance Activity | Frequency | Date of Maintenance
Rake filter media surface for the removal of trash and debris from control openings. | Monthly
Repair leaks from the sedimentation chamber or deterioration of structural components. | Quarterly
Inspect filter for standing water (filter drainage is not optimal) and discoloration (organics or debris have clogged filter surface). | Quarterly
Remove the top few inches of filter media and cultivate the surface when filter bed is clogged. | Annually
Clean out accumulated sediment from filter bed chamber. | Annually
Clean out accumulated sediment from sedimentation chamber. Sediment and debris build up may need to be removed by a professional. Consult with a professional as necessary. | Annually
Follow manufacture's guidelines for proprietary devices. | According to Manufacture Guidance
Notes:

## Pond & Wet Basin
Maintenance Activity | Frequency | Date of Maintenance
Water vegetation at the beginning of each day for eight weeks after planting is completed. | Daily for eight weeks after installation.
Water vegetation regularly to ensure successful establishment after planting. | Every four days during periods of four or more days without rain, June through August for the first 24 months after installation.
Inspect vegetation for signs of disease or distress. Treat or replace as necessary. | Biweekly for the first year after installation/Quarterly
Inspect inlet controls, outlet structures, and storage areas for trash and sediment accumulation. Remove debris and sediment as necessary. | Monthly for the first year after installation/Quarterly
Remove trash and debris from forebay, pond, and outlet structure. | Monthly
Remove non-target/invasive vegetation. | Monthly
Grassed areas require periodic prudent fertilizing, dethatching and soil conditioning. | Monthly
Trees, shrubs, and other vegetative cover will require periodic maintenance such as fertilizing, pruning and pest control. | Monthly
Mow/trim detention basin vegetation, excluding aquatic bench and buffer. | Monthly
Treat basin for mosquito larvae if stagnant water remains for longer than 72 hours. | Quarterly
Inspect outlet control structure for clogging. | Quarterly and after every storm greater than one inch
Inspect SMP for potential problems, including: subsidence, erosion, cracking, or tree growth on the embankment; damage to the emergency spillway; sediment accumulation around the outlet; inadequacy of the inlet/outlet channel erosion control measures; changes in the condition of the pilot channel; and erosion within the SMP and its banks. | Semiannually
Dredge large volumes of sediment and organic debris from basin and forebay areas. Accumulated sediment must never occupy greater than 50% of the forebay volume. | Once every five to ten years*
*The frequency of sediment removal depends on site conditions such as soil type and maintenance of site stabilization which influence the sediment load on the SMP.
Notes:

## Filter Strip
Maintenance Activity | Frequency | Date of Maintenance
Inspect erosion control and flow spreading devices until soil settlement and vegetative establishment of contributing areas has occurred. | Monthly
Water vegetation at the end of each day for two weeks after planting is completed. | Daily for two weeks after installation
Water vegetation regularly to ensure successful establishment after planting. | Every four days during periods of four or more days without rain, June through August for the first 24 months after installation.
Inspect vegetation for signs of disease or distress. Treat or replace as necessary. | Biweekly for the first year after installation/Quarterly
Mow and/or trim vegetation (not applicable to all filter strips). Filter strips that need mowing are to be cut to a height no less than four inches. Greater than five inches is preferred. | Monthly - During Growing Season
Inspect all vegetated strip components expected to receive and/or trap debris and sediment for clogging, excessive debris, and sediment accumulation; remove sediment during dry periods. | Quarterly
Inspect vegetated areas for erosion, scour, and unwanted growth. This should be removed with minimum disruption to the planting soil bed and remaining vegetation. | Semiannually
Inspect all level spreading devices for trapped sediment and flow spreading abilities. Remove sediment and correct grading and flow channels during dry periods. | Semiannually
Notes:

## Forebay
Maintenance Activity | Frequency | Date of Maintenance
Remove trash and debris. | Monthly
Hand weed and remove invasive plants. | Monthly
Grassed areas require periodic prudent fertilizing, dethatching, and soil conditioning. | Monthly
Trees, shrubs, and other vegetative cover will require periodic maintenance such as fertilizing, pruning, and pest control. | Quarterly
Mow/trim forebay vegetation. | Monthly - During Growing Season
Inspect forebay for potential problems including: subsidence, erosion, cracking, or tree growth on the stabilized overflow spillway embankment; damage to the spillway; sediment accumulation; changes in the condition of the inflow; and erosion within the forebay and banks. | Annually
Dredge sediment. Accumulated sediment must not occupy greater than 50% of the forebay volume. | Once every five years*
*The frequency of sediment removal depends on site conditions such as soil type and maintenance of site stabilization which influence the sediment load on the basin.
Notes:

## Swales
Maintenance Activity | Frequency | Date of Maintenance
Inspect trees and shrubs to evaluate health. Treat or replace diseased trees and shrubs. | Quarterly
Inspect soil and repair eroded areas. | Monthly
Remove litter and debris. | Monthly
Clear leaves and debris from overflow. | Monthly
Prune trees and shrubs. | Annually
Inspect for sediment build-up, erosion, vegetative conditions, etc. | Annually
Inspect outlet control devices after several storms to ensure that they are functioning properly and that there are no erosion problems developing. | Quarterly
Notes:

## Energy Dissipaters
Maintenance Activity | Frequency | Date of Maintenance
Inspect energy dissipaters after storms for displaced stones, slumping, and erosion at edges, particularly downstream or downslope. Repair or replace damaged riprap. | Monthly/Concurrent with Storm Events
Inspect dissipater area for sediment and other debris accumulations. Remove sediment and other debris accumulations from dissipater area. | Quarterly
Inspect for woody vegetation build-up. Remove woody vegetation from the riprap. | Quarterly
Inspect stream for obstructions, such as debris, fallen trees, and sediment bars, if riprap is located on a channel bank. Remove obstructions. | Quarterly
Inspect any underlying fabric for damage. Repair or replace damaged fabric. | Quarterly
Notes:

## Inlets
Maintenance Activity | Frequency | Date of Maintenance
Inspect inlets after several storms to ensure that they are functioning properly and that there are no erosion problems developing. | Monthly
Identify and control source of sediment contamination when in situ soil is exposed or erosion channels are present. | Monthly
Inspect for sediment and debris build-up. Remove sediment build-up exceeding two inches in depth or if it begins to constrict the flow path. | Semiannually
Inspect all pipe connections and parge ensuring a watertight seal. | Quarterly
Clean out leaves, trash, and debris. | Semiannually
Notes:

## Outlet Control
Maintenance Activity | Frequency | Date of Maintenance
Inspect outlet control structures after several storms to ensure that they are functioning properly and that there are no erosion problems developing. | Monthly
Identify any sources of sediment contamination and control when in situ soil is exposed or erosion channels are present. | Monthly
Inspect all pipe connections and parge ensuring a watertight seal. | Quarterly
Maintain and cut back vegetation directly surrounding outlet control structures if impairing function of SMP. | Monthly
Clean out leaves, trash, and debris, from all structures, such as grates and orifices (Note: consult with professional vacuum cleaning service if subsurface pipes, including underdrains, appear to be clogged). | Monthly
Inspect orifice for debris build-up. | Quarterly
Inspect Trash Rack for debris build-up. | Quarterly
Inspect for sediment and debris build-up. Sediment build-up exceeding two inches in depth or that begins to constrict the flow path must be removed. | Quarterly
Notes:

## Level Spreader
Maintenance Activity | Frequency | Date of Maintenance
Inspect for debris and sediment accumulation in the forebay, along the stone, in the pipe, and along the downslope side of the level spreader. Remove all debris and sediment. | Quarterly
Inspect the downstream side of the level spreader for erosion. | Quarterly
Remove all vegetation from areas of stone. | Monthly During the Growing Season
Mow/trim vegetation on the downstream side of the level spreader. | Monthly During the Growing Season
Inspect level spreader after storms to ensure there is sufficient stone to diffuse flow and replace as needed | Concurrent with Storm Events
Inspect the edge over which flow is distributed for levelness. Eliminate variations in height on the downstream lip. | Quarterly
Inspect the level spreader site for levelness. Ensure a constant horizontal elevation. | Quarterly
Notes:

## Trees
Maintenance Activity | Frequency | Date of Maintenance
Inspect trees to evaluate health. Treat or replace diseased or dead trees as needed. | Semiannually
Inspect growing medium for evidence of erosion from wind or water. If erosion channels are evident, stabilize with additional growth medium similar to the original material. | Semiannually
Prune trees. | Annually
Notes:

## Sump Manholes
Maintenance Activity | Frequency | Date of Maintenance
Inspect sump manholes after several storms to ensure that there are no erosion problems developing. | Monthly
Identify and control source of sediment contamination when in situ soil is exposed or erosion channels are present. | Monthly
Inspect all pipe connections and parge ensuring a watertight seal. | Quarterly
Inspect for sediment and debris build-up. Remove sediment build-up exceeding two inches in depth or if it begins to constrict the flow path. | Semiannually
Clean out leaves, trash, and debris. | Semiannually
Notes:

## Pavement Disconenction
Maintenance Activity | Frequency | Date of Maintenance
Remove trash, debris and sediment from pavement areas. | Monthly
Mow and/or trim vegetation adjacent to pavement. Vegetated areas that need mowing are to be cut to a height no less than 4 inches. | Monthly During the Growing Season
Vegetated areas should be inspected for erosion, scour, and invasive plants (e.g., weeds). Remove invasive plants with minimum disruption to the planting soil bed and remaining vegetation. | Monthly During the Growing Season
Water vegetation regularly to ensure successful establishment. | Every four days during periods of four or more days without rain, June through August for the first 24 months after installation.
Notes:

## Roof Disconnection
Maintenance Activity | Frequency | Date of Maintenance
Vegetated areas downstream of roof drains should be inspected for erosion and scour. | Monthly
Inspect energy dissipaters after storms for displaced stones, slumping, and erosion at edges, particularly downstream or downslope. Repair or replace damaged riprap. | Monthly/Concurrent with Storm Events
Inspect dissipater area for sediment and other debris accumulations. Remove sediment and other debris accumulations from dissipater area. | Quarterly
Notes: