CONSTRUCTION CERTIFICATION PACKAGE

Purpose:

The intent of this Construction Certification Package is to ensure that acceptable documentation is maintained during the construction of stormwater management practices (SMPs). For general information and design requirements for different types of SMPs, please refer to Chapter 4 of the PWD Stormwater Management Guidance Manual.

General Construction Requirements:

During construction, the contractor must ensure that a copy of the Approved Post-Construction Stormwater Management Plan (PCSMP) and Erosion and Sediment Control (E&S) Plan are available on-site at all times.

Prior to any earth disturbance activities, a preconstruction meeting must be held. All parties including, but not limited to, the property owner’s representative, the design professional, the contractor, the PWD Inspector, and state and municipal authorities are required to attend. As part of the preconstruction meeting, a timetable for the project’s construction sequence stages must be provided. The PWD Inspector must be contacted at least seven (7) days prior to the date of the preconstruction meeting to ensure that appropriate staff can be present. If at least seven (7) days’ notice is not provided, PWD cannot guarantee that the preconstruction meeting will be held on the requested date. Further, earth disturbance activities should not commence until the preconstruction meeting is held.

The PWD Inspector must be notified at least three (3) days prior to the start of construction of any SMP elements. If the required notice is not provided, the project site may be subject to the enforcement actions outlined in the Stormwater Regulations. Any SMP, or portion of a SMP, that is constructed without prior notice to PWD or without the PWD Inspector present on-site may be required to be removed and reconstructed.

SMP Construction Certification Forms:

The Construction Certification Package contains a separate SMP Construction Certification Form for each SMP. For phased projects, each phase must have its own Construction Certification Package. Please note that the items identified within these forms represent the minimum documentation required. Additional documentation may be deemed necessary by PWD staff on a project-specific basis.

SMP Construction Certification Forms must be prepared by the project’s design professional, reviewed by PWD during the PCSMP Review Phase, and completed by one of the following registered professionals during construction: Professional Engineer, Registered Architect, Landscape Architect, Professional Land Surveyor, Professional Geologist, or Licensed Contractor. The registered professional who completes each SMP Construction Certification Form must complete the “Registered Professional” section of that form. These registered professionals may also prepare and submit Record Drawings to PWD. Please note that PA DEP may have different requirements regarding the types of professionals who may prepare Record Drawings. For projects that require a NPDES Permit, the applicant is strongly encouraged to refer to PA DEP’s requirements for Record Drawings before selecting a professional to prepare Record Drawing(s) for PWD.

Each SMP Construction Certification Form must indicate the measurements that are most critical to the listed SMP’s ability to perform its designed function (, elevations, outlet control sizes, surface areas, layer depths, etc.). It is recommended that the SMP Construction Certification Form(s) be included in the construction bid documents for the project to ensure that the selected contractor is aware of the requirement that the Forms be completed during construction. The project’s sequence of construction will identify all stages of SMP construction for which a registered professional must document the specific elevations and measurements found on the SMP Construction Certification Forms.

Each measurement documented on the Forms must be dated and initialed by the registered professional who took, or whose designee took, the measurement. Once all the required measurements have been appropriately documented, the registered professional must execute and date the Form. The contractor should not cover, backfill, or seal any SMP until the information required for the Record Drawing(s) and the Construction Certification Package has been acquired.

Supplementary Documentation:

Electronic copies of all photos, material receipts, reports, and certifications required within the SMP Construction Certification Forms (at minimum) must be provided to PWD. Material receipts must clearly specify the types, qualities, and quantities of the materials purchased.

Construction Certification Package Submission:

The Construction Certification Package must include electronic copies of all completed SMP Construction Certification Forms and all supplementary documentation required by the Forms.  The Construction Certification Package must be submitted to PWD along with the project’s Record Drawing(s) once construction of the project or project phase is completed, all of which will be reviewed as part of the project’s Record Drawing Review Phase. Please refer to Section 2.3.1 of the PWD Stormwater Management Guidance Manual for more information regarding the Record Drawing Review Phase. The measurements/specifications required to be documented on the SMP Construction Certification Forms must be reflected on the project’s Record Drawing(s). Refer to the Record Drawing Requirements document, provided by PWD at the project preconstruction meeting, for a summary of what information must be reflected on the Record Drawing(s) and how this information must be documented. More detailed information on Record Drawings can be found in Section 5.3.2 of the PWD Stormwater Management Guidance Manual.

SMP CONSTRUCTION CERTIFICATION FORM

Bioinfiltration/Bioretention (Page 2 of 3)

Project Name:	___________________PWD Tracking Number: _________________________

SMP Label (On Plans): __________________________________________________________

- Contact the project’s assigned PWD Inspector at least three (3) days prior to the start of construction of any SMP, including excavation of SMPs and soil testing if applicable. SMP installation must be observed by the PWD Inspector.

- Provide the PWD Inspector with an estimated schedule for the placement of any of the following: geotextile, stone, storage media, piping, soil, etc.

- Provide the following information about the SMP:

| Required Documents | Receipt # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Copies of receipts for clean washed stone |  |  |
| Copies of receipts for geotextile |  |  |
| Copies of receipts for underdrain/pipes |  |  |
| Copies of receipts for planting soil medium |  |  |
| Copies of receipts for vegetation and/or seeding |  |  |
| Copies of receipts for impervious liner, if required |  |  |

| Required Reports and Certifications | Receipt # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Report demonstrating that stone was washed per AASHTO T-11 Standards (<0.5 % wash loss) |  |  |
| Planting soil medium certifications demonstrating mixture components and organic content per plans |  |  |
| Certification by installer of geomembrane impervious liner, if required, of the acceptability of the receiving subgrade surface upon which geomembrane is to be installed and of the condition of the unrolled geomembrane liner. |  |  |
| Certification of the qualifications for geomembrane installation crews having experience in the installation of geomembrane of the type and thickness specified. The installation supervisor shall have supervised in the field or installed at least five hundred thousand (500,000) square feet of the geomembrane material being installed. All seamers shall have at least five hundred thousand (500,000) square feet of geomembrane seaming experience. |  |  |
| Certification of the results from non-destructive and destructive testing of geomembrane seaming. |  |  |

SMP CONSTRUCTION CERTIFICATION FORM

Bioinfiltration/Bioretention (Page 2 of 3)

| Required Photos | Photo # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Photo(s) verifying that the system location is staked |  |  |
| Photo(s) showing the system protected from sediment and compaction during constructions (E&S controls around the basin) |  |  |
| Photos showing the bottom of the flat, scarified, non-compacted subgrade soils before installation of geotextile (required if bioinfiltration system) |  |  |
| Photos showing bottom of the basin after installation of geotextile (or impervious liner, if required) |  |  |
| Photos showing installation of stone and perforated pipe(s)/underdrain within system, if required |  |  |
| Photo(s) showing installation of stone storage layer |  |  |
| Photos showing connection of underdrain to overflow system, if required |  |  |
| Photos showing installation of geotextile/filter layer above stone drainage layer, if required |  |  |
| Photos showing basin after installation of planting soil medium and fine grading |  |  |
| Photos showing the bioretention area after planting of vegetation (pre-stabilized) |  |  |
| Photos showing the bioretention area after planting of vegetation (stabilized) |  |  |
| Photos showing outlet structure, including internal weirs and/or orifices, and outlet pipes (with tape measure as size reference) |  |  |

SMP CONSTRUCTION CERTIFICATION FORM

Bioinfiltration/Bioretention (Page 3 of 3)

| Required Measurement | Photo # | Measurement | Registered Professional’s Initials & Date |
| --- | --- | --- | --- |
| Level Planting Surface Elevation |  |  |  |
| Level Bottom (Interface with in situ Soils) Elevation |  |  |  |
| Planting Soil Medium Depth |  |  |  |
| Stone Storage Layer Depth |  |  |  |
| Depth of Sand/Stone Filter Layer |  |  |  |
| Underdrain Invert |  |  |  |
| Underdrain Orifice Invert |  |  |  |
| Underdrain Orifice Diameter |  |  |  |
| Overflow Riser/Grate Elevation |  |  |  |
| Outlet Structure Outflow Pipe Invert |  |  |  |
| Outlet Structure Orifice Invert |  |  |  |
| Outlet Structure Orifice Diameter |  |  |  |
| Outlet Structure Weir Length |  |  |  |
| Outlet Structure Weir Elevation |  |  |  |

By signing this form, the registered professional indicated below certifies that they, or a designee, were present during the required measurements associated with the SMP listed above, and that, to the best of their knowledge, information, and belief, these measurements are in general accordance with the Approved PCSMP.

Please note that the measurements listed above must be reflected on the project’s Record Drawing(s). The Project’s Construction Certification Package, which must be submitted with the Record Drawing(s), must include digital copies of all SMP Construction Certification Forms (one per SMP) and digital copies of the material receipts and photographs required on these forms.

Registered Professional

_______________________________________________________________________________

Signature			Date				Name (Print)

_______________________________________________________________________________

Company					License Type & Number

SMP CONSTRUCTION CERTIFICATION FORM

Porous Surfaces (e.g. Permeable Pavers, Reinforced Turf, Artificial Turf, Porous Safety Surface)

(Page 1 of 2)

Project Name:	___________________PWD Tracking Number: _________________________

SMP Label (On Plans): __________________________________________________________

- Contact the project’s assigned PWD Inspector at least three (3) days prior to the start of construction of any SMP, including excavation of SMPs and soil testing if applicable. SMP installation must be observed by the PWD Inspector.

- Provide the PWD Inspector with an estimated schedule for the placement of any of the following: geotextile, stone, storage media, piping, soil, etc.

- Provide the following information about the SMP:

| Required Documents | Receipt # | Registered Professional’s Initials & Date |  |
| --- | --- | --- | --- |
| Copies of receipts for clean washed stone subbase |  |  |  |
| Copies of receipts for clean washed choker coarse stone |  |  |  |
| Copies of receipts for geotextile |  |  |  |
| Copies of receipts for porous pavers (if applicable) |  |  |  |
| Copies of receipts for batch amounts of porous surface materials (if applicable) |  |  |  |
| Copies of receipts for underdrain/pipes, if required |  |  |

| Required Reports and Certifications | Receipt # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Report demonstrating that stone was washed per AASHTO T-11 Standards (<0.5 % wash loss) |  |  |

| Required Photos | Photo # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Photos showing excavation protected from sediment during construction (E&S controls around the proposed porous area) |  |  |
| Photos showing the bottom of the flat, scarified, non-compacted excavation before installation of geotextile (where applicable, show terracing) |  |  |
| Photos showing the bottom of the basin after installation of geotextile |  |  |
| Photos showing the placement of clean washed stone subbase |  |  |
| Photos showing the placement of underdrain/pipes and connection to overflow, if required |  |  |
| Photos showing the installed porous surface (permeable pavers, reinforced turf, or artificial turf) |  |  |

SMP CONSTRUCTION CERTIFICATION FORM

Porous Surfaces (e.g. Permeable Pavers, Reinforced Turf, Artificial Turf, Porous Safety Surface)

(Page 2 of 2)

| Required Measurement | Photo # | Measurement | Registered Professional’s Initials & Date |
| --- | --- | --- | --- |
| Level Bottom (Interface with in situ Soils/Soil Amendments) Elevation |  |  |  |
| Level Bottom Surface Area |  |  |  |
| Total Surface Area |  |  |  |
| Overflow Elevation |  |  |  |
| Depth of Choker Course |  |  |  |
| Depth of Aggregate Storage Layer |  |  |  |
| Underdrain Invert |  |  |  |
| Outlet Structure Orifice Invert |  |  |  |
| Outlet Structure Orifice Diameter |  |  |  |
| Outlet Structure Weir Length |  |  |  |
| Outlet Structure Weir Elevation |  |  |  |

By signing this form, the registered professional indicated below certifies that they, or a designee, were present during the required measurements associated with the SMP listed above, and that, to the best of their knowledge, information, and belief, these measurements are in general accordance with the Approved PCSMP.

Please note that the measurements listed above must be reflected on the project’s Record Drawing(s). The Project’s Construction Certification Package, which must be submitted with the Record Drawing(s), must include digital copies of all SMP Construction Certification Forms (one per SMP) and digital copies of the material receipts and photographs required on these forms.

Registered Professional

_______________________________________________________________________________

Signature			Date				Name (Print)

_______________________________________________________________________________

Company					License Type & Number

SMP CONSTRUCTION CERTIFICATION FORM

Green Roof (Page 1 of 2)

Project Name:	___________________PWD Tracking Number: _________________________

SMP Label (On Plans): __________________________________________________________

- Contact the project’s assigned PWD Inspector at least three (3) days prior to the start of construction of any SMP. SMP installation must be observed by the PWD Inspector.

- Provide the PWD Inspector with an estimated schedule for the placement of any of the following: liners, outlet controls, drainage layer, soil media, and plantings.

- Provide the following information about the SMP:

| Required Documents | Receipt # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Copies of receipts for green roof materials (geotextile fabric, root barrier/waterproofing membrane, drainage layer, etc.) |  |  |
| Copies of receipts for growing medium |  |  |
| Copies of receipts for plantings |  |  |

| Required Reports and Certifications | Receipt # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Growing medium certifications demonstrating mixture components and organic content |  |  |

| Required Photos | Photo # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Photos showing the roof after the installation of root barrier/waterproofing membrane |  |  |
| Photos showing the installation of drainage layer (showing thickness measurements if consisting of foundation growing medium) |  |  |
| Photos showing the installation of the growing medium (showing thickness measurements) |  |  |
| Photos showing entire roof area after installation of vegetation |  |  |

SMP CONSTRUCTION CERTIFICATION FORM

Green Roof (Page 2 of 2)

| Required Measurement | Photo # | Measurement | Registered Professional’s Initials & Date |
| --- | --- | --- | --- |
| Green Roof Surface Area |  |  |  |
| Growing Medium Thickness |  |  |  |
| Foundation Growing Medium Thickness |  |  |  |

By signing this form, the registered professional indicated below certifies that they, or a designee, were present during the required measurements associated with the SMP listed above, and that, to the best of their knowledge, information, and belief, these measurements are in general accordance with the Approved PCSMP.

Please note that the measurements listed above must be reflected on the project’s Record Drawing(s). The Project’s Construction Certification Package, which must be submitted with the Record Drawing(s), must include digital copies of all SMP Construction Certification Forms (one per SMP) and digital copies of the material receipts and photographs required on these forms.

Registered Professional

_______________________________________________________________________________

Signature			Date				Name (Print)

_______________________________________________________________________________

Company					License Type & Number

SMP CONSTRUCTION CERTIFICATION FORM

Blue-Green Roof (Page 1 of 2)

Project Name:	___________________PWD Tracking Number: _________________________

SMP Label (On Plans): __________________________________________________________

- Contact the project’s assigned PWD Inspector at least three (3) days prior to the start of construction of any SMP. SMP installation must be observed by the PWD Inspector.

- Provide the PWD Inspector with an estimated schedule for the placement of any of the following: liners, outlet controls, drainage layer, soil media, and plantings.

- Provide the following information about the SMP:

| Required Documents | Receipt # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Copies of receipts for blue-green roof materials (geotextile fabric, root barrier/waterproofing membrane, drainage layer, roof drain restrictors, micro siphon drain belts, etc.) |  |  |
| Copies of receipts for growing medium |  |  |
| Copies of receipts for plantings |  |  |
| Copies of receipts for clean washed stone |  |  |

| Required Reports and Certifications | Receipt # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Growing medium certifications demonstrating mixture components and organic content |  |  |

| Required Photos | Photo # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Photos showing the roof after the installation of root barrier/waterproofing membrane |  |  |
| Photos showing the installation of drainage layer (showing thickness measurements if consisting of foundation growing medium) |  |  |
| Photos showing the installation of the growing medium (showing thickness measurements) |  |  |
| Photos showing the roof after the installation of moisture interception layer/geotextile |  |  |
| Photos showing the installation of check dams |  |  |
| Photos showing roof drain restrictor prior to installation, if required (with tape measure as size reference) |  |  |
| Photos showing the installation of micro siphon drain belt, if required |  |  |
| Photos showing entire roof area after installation of vegetation |  |  |

SMP CONSTRUCTION CERTIFICATION FORM

Blue-Green Roof (Page 2 of 2)

| Required Measurement | Photo # | Measurement | Registered Professional’s Initials & Date |
| --- | --- | --- | --- |
| Green Roof Surface Area |  |  |  |
| Growing Medium Thickness |  |  |  |
| Foundation Growing Medium Thickness |  |  |  |
| Storage Area Footprint |  |  |  |
| Check Dam Height |  |  |  |
| Micro Siphon Drain Belt Size |  |  |  |
| Roof Drain Riser Height |  |  |  |
| Roof Drain Riser Diameter |  |  |  |
| Roof Drain Restrictor Orifice Diameter |  |  |  |

By signing this form, the registered professional indicated below certifies that they, or a designee, were present during the required measurements associated with the SMP listed above, and that, to the best of their knowledge, information, and belief, these measurements are in general accordance with the Approved PCSMP.

Please note that the measurements listed above must be reflected on the project’s Record Drawing(s). The Project’s Construction Certification Package, which must be submitted with the Record Drawing(s), must include digital copies of all SMP Construction Certification Forms (one per SMP) and digital copies of the material receipts and photographs required on these forms.

Registered Professional

_______________________________________________________________________________

Signature			Date				Name (Print)

_______________________________________________________________________________

Company					License Type & Number

SMP CONSTRUCTION CERTIFICATION FORM

Subsurface Infiltration (Page 1 of 2)

Project Name:	___________________PWD Tracking Number: _________________________

SMP Label (On Plans): __________________________________________________________

- Contact the project’s assigned PWD Inspector at least three (3) days prior to the start of construction of any SMP, including excavation of SMPs and soil testing if applicable. SMP installation must be observed by the PWD Inspector.

- Provide the PWD Inspector with an estimated schedule for the placement of any of the following: geotextile, stone, storage media, piping, soil, etc.

- Provide the following information about the SMP:

| Required Documents | Receipt # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Copies of receipts for clean washed stone |  |  |
| Copies of receipts for geotextile |  |  |
| Copies of receipts for perforated pipes or storage units |  |  |
| Copies of receipts for soil amendments, if required |  |  |

| Required Reports and Certifications | Receipt # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Report demonstrating that stone was washed per AASHTO T-11 Standards (< 0.5% wash loss) |  |  |
| Infiltration Testing Report for soil amendments, if required |  |  |

| Required Photos | Photo # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Photo(s) showing basin protected from sediment and compaction during construction (E&S controls around the basin) |  |  |
| Photo(s) verifying that the system location is staked |  |  |
| Photo(s) showing the bottom of the flat, scarified, non-compacted basin before installation of geotextile or pea gravel |  |  |
| Photo(s) showing the bottom of the basin after installation of geotextile or pea gravel |  |  |
| Photos showing outlet structure, including internal weirs and/or orifices, and outlet pipes (with tape measure as size reference) |  |  |
| Photo(s) showing the installation of perforated pipes/storage units (tops showing with stone filled around them) |  |  |
| Photo(s) showing installation of observation well(s) |  |  |
| Photo(s) showing the completed installation with stone to finished bed elevation and geotextile in place (prior to backfill) |  |  |

SMP CONSTRUCTION CERTIFICATION FORM

Subsurface Infiltration (Page 2 of 2)

| Required Measurement | Photo # | Measurement | Registered Professional’s Initials & Date |
| --- | --- | --- | --- |
| Level Bottom Elevation (Interface with in situ Soils/Soil Amendments) |  |  |  |
| Level Bottom Footprint Surface Area (Length and Width) |  |  |  |
| Top of Stone Storage Layer Elevation |  |  |  |
| Invert of Modular Storage Devices |  |  |  |
| Storage/Distribution Pipe Invert |  |  |  |
| Basin Outflow Pipe Invert |  |  |  |
| Observation Well Invert |  |  |  |
| Outlet Structure Bottom Invert |  |  |  |
| Outlet Structure Outflow Pipe Invert |  |  |  |
| Outlet Structure Orifice Invert |  |  |  |
| Outlet Structure Orifice Diameter |  |  |  |
| Outlet Structure Weir Length |  |  |  |
| Outlet Structure Weir Elevation |  |  |  |

By signing this form, the registered professional indicated below certifies that they, or a designee, were present during the required measurements associated with the SMP listed above, and that, to the best of their knowledge, information, and belief, these measurements are in general accordance with the Approved PCSMP.

Please note that the measurements listed above must be reflected on the project’s Record Drawing(s). The Project’s Construction Certification Package, which must be submitted with the Record Drawing(s), must include digital copies of all SMP Construction Certification Forms (one per SMP) and digital copies of the material receipts and photographs required on these forms.

Registered Professional

_______________________________________________________________________________

Signature			Date				Name (Print)

_______________________________________________________________________________

Company					License Type & Number

SMP CONSTRUCTION CERTIFICATION FORM

Drainage Well (Page 1 of 2)

Project Name:	___________________PWD Tracking Number: _________________________

SMP Label (On Plans): __________________________________________________________

- Contact the project’s assigned PWD Inspector at least three (3) days prior to the start of construction of any SMP, including excavation of SMPs and soil testing if applicable. SMP installation must be observed by the PWD Inspector.

- Provide the PWD Inspector with an estimated schedule for the placement of any of the following: geotextile, stone, storage media, precast concrete or thermoplastic manhole structure, soil, etc.

- Provide the following information about the SMP:

| Required Documents | Receipt # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Copies of receipts for clean washed stone |  |  |
| Copies of receipts for geotextile |  |  |
| Copies of receipts for precast concrete or thermoplastic manhole structure |  |  |
| Copies of receipts for soil amendments, if required |  |  |

| Required Reports and Certifications | Receipt # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Report demonstrating that stone was washed per AASHTO T-11 Standards (< 0.5% wash loss) |  |  |
| Infiltration Testing Report for soil amendments, if required |  |  |

| Required Photos | Photo # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Photo(s) showing drainage well protected from sediment and compaction during construction (E&S controls around the drainage well) |  |  |
| Photo(s) verifying that the drainage well location is staked |  |  |
| Photo(s) showing the bottom of the flat, scarified, non-compacted drainage well before installation of geotextile or pea gravel |  |  |
| Photo(s) showing the bottom of the drainage well after installation of geotextile or pea gravel |  |  |
| Photo(s) showing the installation of precast concrete or thermoplastic manhole structure (top showing with stone filled around them) |  |  |
| Photo(s) showing the completed installation with stone to finished elevation and geotextile in place (prior to backfill) |  |  |

SMP CONSTRUCTION CERTIFICATION FORM

Drainage Well (Page 2 of 2)

| Required Measurement | Photo # | Measurement | Registered Professional’s Initials & Date |
| --- | --- | --- | --- |
| Level Bottom Elevation (Interface with in situ Soils/Soil Amendments) |  |  |  |
| Top of Stone Storage Layer Elevation |  |  |  |
| Precast Concrete Manhole/Thermoplastic Manhole Invert |  |  |  |

By signing this form, the registered professional indicated below certifies that they, or a designee, were present during the required measurements associated with the SMP listed above, and that, to the best of their knowledge, information, and belief, these measurements are in general accordance with the Approved PCSMP.

Please note that the measurements listed above must be reflected on the project’s Record Drawing(s). The Project’s Construction Certification Package, which must be submitted with the Record Drawing(s), must include digital copies of all SMP Construction Certification Forms (one per SMP) and digital copies of the material receipts and photographs required on these forms.

Registered Professional

_______________________________________________________________________________

Signature			Date				Name (Print)

_______________________________________________________________________________

Company					License Type & Number

SMP CONSTRUCTION CERTIFICATION FORM

Cistern (Page 1 of 1)

Project Name:	___________________PWD Tracking Number: _________________________

SMP Label (On Plans):__________________________________________________________

- Contact the project’s assigned PWD Inspector at least three (3) days prior to the start of construction of any SMP, including installation of a cistern. SMP installation must be observed by the PWD Inspector.

- Provide the following information about the SMP:

| Required Documents | Receipt # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Copies of receipts for cistern tank, including model number (if applicable) |  |  |
| Copies of receipts for slow release mechanism or pump |  |  |

| Required Photos | Photo # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Photo(s) of debris screening from roof connection |  |  |
| Photo(s) of installed cistern |  |  |
| Photo(s) of slow release mechanism or pump |  |  |
| Photo(s) of overflow (with tape measure as size reference) |  |  |

| Required Measurement/Specification | Photo # | Measurement/ Specification | Registered Professional’s Initials & Date |
| --- | --- | --- | --- |
| Cistern Volume |  |  |  |
| Overflow Elevation/Height |  |  |  |
| Overflow Orifice Diameter |  |  |  |

By signing this form, the registered professional indicated below certifies that they, or a designee, verified the manufacturer’s specifications for the SMP listed above, and that, to the best of their knowledge, information, and belief, these specifications are in general accordance with the Approved PCSMP.

Please note that the specifications listed above must be reflected on the project’s Record Drawing(s). The Project’s Construction Certification Package, which must be submitted with the Record Drawing(s), must include digital copies of all SMP Construction Certification Forms (one per SMP) and digital copies of the material receipts and photographs required on these forms.

Registered Professional

_______________________________________________________________________________________________Signature			Date				Name (Print)

_______________________________________________________________________________________________Company					License Type & Number

SMP CONSTRUCTION CERTIFICATION FORM

Blue Roof (Page 1 of 2)

Project Name:	___________________PWD Tracking Number: _________________________

SMP Label (On Plans): __________________________________________________________

- Contact the project’s assigned PWD Inspector at least three (3) days prior to the start of construction of any SMP. SMP installation must be observed by the PWD Inspector.

- Provide the PWD Inspector with an estimated schedule for the placement of any of the following: liners, piping, drainage layer, soil media, and plantings.

- Provide the following information about the SMP:

| Required Documents | Receipt # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Copies of receipts for blue roof materials (geotextile fabric, waterproofing membrane, roof drain restrictors, etc.) |  |  |
| Copies of receipts for clean washed stone |  |  |

| Required Photos | Photo # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Photos showing the roof after the installation of waterproofing membrane |  |  |
| Photos showing the installation of check dams |  |  |
| Photos showing roof drain restrictor prior to installation, if required (with tape measure as size reference) |  |  |
| Photos showing the installation of stone ballast, if required (showing thickness measurements) |  |  |
| Photos showing entire roof area when installation is complete |  |  |

SMP CONSTRUCTION CERTIFICATION FORM

Blue Roof (Page 2 of 2)

| Required Measurement | Photo # | Measurement | Registered Professional’s Initials & Date |
| --- | --- | --- | --- |
| Storage Area Footprint |  |  |  |
| Check Dam Height |  |  |  |
| Ballast Stone Depth |  |  |  |
| Roof Drain Riser Height |  |  |  |
| Roof Drain Riser Diameter |  |  |  |
| Roof Drain Restrictor Orifice Diameter |  |  |  |

By signing this form, the registered professional indicated below certifies that they, or a designee, were present during the required measurements associated with the SMP listed above, and that, to the best of their knowledge, information, and belief, these measurements are in general accordance with the Approved PCSMP.

Please note that the measurements listed above must be reflected on the project’s Record Drawing(s). The Project’s Construction Certification Package, which must be submitted with the Record Drawing(s), must include digital copies of all SMP Construction Certification Forms (one per SMP) and digital copies of the material receipts and photographs required on these forms.

Registered Professional

_______________________________________________________________________________

Signature			Date				Name (Print)

_______________________________________________________________________________

Company					License Type & Number

SMP CONSTRUCTION CERTIFICATION FORM

Ponds and Wet Basins (Page 1 of 2)

Project Name:	___________________PWD Tracking Number: _________________________

SMP Label (On Plans): __________________________________________________________

- Contact the project’s assigned PWD Inspector at least three (3) days prior to the start of construction of any SMP, including excavation of SMPs and soil testing if applicable. SMP installation must be observed by the PWD Inspector.

- Provide the PWD Inspector with an estimated schedule for the placement of any of the following: geotextile, impervious liner, stone, storage media, piping, soil, etc.

- Provide the following information about the SMP:

| Required Documents | Receipt # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Copies of receipts for vegetation and/or seeding |  |  |
| Copies of receipts for impervious liner, if required |  |  |

| Required Reports and Certifications | Receipt # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Certification by installer of geomembrane impervious liner, if required, of the acceptability of the receiving subgrade surface upon which geomembrane is to be installed and of the condition of the unrolled geomembrane liner. |  |  |
| Certification of the qualifications for geomembrane installation crews having experience in the installation of geomembrane of the type and thickness specified. The installation supervisor shall have supervised in the field or installed at least five hundred thousand (500,000) square feet of the geomembrane material being installed. All seamers shall have at least five hundred thousand (500,000) square feet of geomembrane seaming experience. |  |  |
| Certification of the results from non-destructive and destructive testing of geomembrane seaming. |  |  |

| Required Photos | Photo # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Photo(s) showing basin protected from sediment and compaction during construction (E&S controls around the basin) |  |  |
| Photo(s) verifying that the system location is staked, if required |  |  |
| Photos showing final grading of basin, including the bottom, berm, side slopes, and spillway |  |  |
| Photos showing the basin after planting of vegetation (pre-stabilized) |  |  |
| Photos showing the basin after planting of vegetation (stabilized) |  |  |
| Photos showing outlet structure, including internal weirs and/or orifices, and outlet pipes (with tape measure as size reference) |  |  |
| Photos showing orifice protection, if required |  |  |
| Photos showing completed spillway (with tape measure as size reference) |  |  |

SMP CONSTRUCTION CERTIFICATION FORM

Ponds and Wet Basins (Page 2 of 2)

| Required Measurement | Photo # | Measurement | Registered Professional’s Initials & Date |
| --- | --- | --- | --- |
| Level Planting Media Surface Elevation |  |  |  |
| Level Bottom (Interface with in situ Soils/Soil Amendments) Elevation |  |  |  |
| Outflow Pipe Invert |  |  |  |
| Overflow Riser/Grate Elevation |  |  |  |
| Outlet Structure Orifice Invert |  |  |  |
| Outlet Structure Orifice Diameter |  |  |  |
| Outlet Structure Weir Length |  |  |  |
| Outlet Structure Weir Elevation |  |  |  |
| Spillway Invert Elevation |  |  |  |
| Spillway Width |  |  |  |

By signing this form, the registered professional indicated below certifies that they, or a designee, were present during the required measurements associated with the SMP listed above, and that, to the best of their knowledge, information, and belief, these measurements are in general accordance with the Approved PCSMP.

Please note that the measurements listed above must be reflected on the project’s Record Drawing(s). The Project’s Construction Certification Package, which must be submitted with the Record Drawing(s), must include digital copies of all SMP Construction Certification Forms (one per SMP) and digital copies of the material receipts and photographs required on these forms.

Registered Professional

_______________________________________________________________________________

Signature			Date				Name (Print)

_______________________________________________________________________________

Company					License Type & Number

SMP CONSTRUCTION CERTIFICATION FORM

Subsurface Detention (Page 1 of 2)

Project Name:	___________________PWD Tracking Number: _________________________

SMP Label (On Plans): __________________________________________________________

- Contact the project’s assigned PWD Inspector at least three (3) days prior to the start of construction of any SMP, including excavation of SMPs and soil testing if applicable. SMP installation must be observed by the PWD Inspector.

- Provide the PWD Inspector with an estimated schedule for the placement of any of the following: geotextile, stone, storage media, piping, soil, etc.

- Provide the following information about the SMP:

| Required Documents |  | Receipt # |  |  | Registered Professional’s Initials & Date |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Copies of receipts for pipes or storage units |  |  |  |  |  |  |  |  |
| Copies of receipts for vault structure |  |  |  |  |  |  |  |  |
| Copies of receipts for clean washed stone, if required per plans |  |  |  |  |  |  |  |  |
| Copies of receipts for geotextile, if required per plans |  |  |  |  |  |  |  |  |
| Copies of receipts for impervious liner, if required per plans |  |  |  |  |  |  |  |  |
| Required Reports and Certifications |  |  | Receipt # |  |  | Registered Professional’s Initials & Date |
| Certification by installer of geomembrane impervious liner, if required, of the acceptability of the receiving subgrade surface upon which geomembrane is to be installed and of the condition of the unrolled geomembrane liner. |  |  |  |  |  |  |
| Certification of the qualifications for geomembrane installation crews having experience in the installation of geomembrane of the type and thickness specified. The installation supervisor shall have supervised in the field or installed at least five hundred thousand (500,000) square feet of the geomembrane material being installed. All seamers shall have at least five hundred thousand (500,000) square feet of geomembrane seaming experience. |  |  |  |  |  |  |
| Certification of the results from non-destructive and destructive testing of geomembrane seaming. |  |  |  |  |  |  |
| Required Photos | Photo # |  |  | Registered Professional’s Initials & Date |  |  |  |
| Photos showing the bottom of the basin before installation of geotextile and/or impervious liner |  |  |  |  |  |  |  |
| Photos showing the bottom of the basin after installation of geotextile and/or impervious liner |  |  |  |  |  |  |  |
| Photos showing the installation of pipes/storage units (tops showing with stone filled around them). |  |  |  |  |  |  |  |
| Photos showing the installation of the vault structure |  |  |  |  |  |  |  |
| Photos showing outlet structure, including internal weirs and/or orifices, and outlet pipes (with tape measure as size reference) |  |  |  |  |  |  |  |
| Photos showing orifice protection, if required |  |  |  |  |  |  |  |
| Photo(s) showing installation of observation well(s) |  |  |  |  |  |  |  |
| Photo(s) showing the completed installation with stone to finished bed elevation and geotextile in place (prior to backfill) |  |  |  |  |  |  |  |

SMP CONSTRUCTION CERTIFICATION FORM

Subsurface Detention (Page 2 of 2)

| Required Measurement | Photo # | Measurement | Registered Professional’s Initials & Date |
| --- | --- | --- | --- |
| Bottom Footprint Surface Area (Length and Width) |  |  |  |
| Bottom of Stone Storage Layer Elevation |  |  |  |
| Top of Stone Storage Layer Elevation |  |  |  |
| Observation Well Invert |  |  |  |
| Storage/Distribution Pipe Invert |  |  |  |
| Invert of Modular Storage Devices |  |  |  |
| Invert of Vault Structure |  |  |  |
| Outflow Pipe Invert |  |  |  |
| Outlet Structure Bottom Invert |  |  |  |
| Outlet Structure Outflow Pipe Invert |  |  |  |
| Outlet Structure Orifice Invert |  |  |  |
| Outlet Structure Orifice Diameter |  |  |  |
| Outlet Structure Weir Length |  |  |  |
| Outlet Structure Weir Elevation |  |  |  |

By signing this form, the registered professional indicated below certifies that they, or a designee, were present during the required measurements associated with the SMP listed above, and that, to the best of their knowledge, information, and belief, these measurements are in general accordance with the Approved PCSMP.

Please note that the measurements listed above must be reflected on the project’s Record Drawing(s). The Project’s Construction Certification Package, which must be submitted with the Record Drawing(s), must include digital copies of all SMP Construction Certification Forms (one per SMP) and digital copies of the material receipts and photographs required on these forms.

Registered Professional

_______________________________________________________________________________

Signature			Date				Name (Print)

_______________________________________________________________________________

Company					License Type & Number

SMP CONSTRUCTION CERTIFICATION FORM

Media Filter (Page 1 of 2)

Project Name:	___________________PWD Tracking Number: _________________________

SMP Label (On Plans): __________________________________________________________

- Contact the project’s assigned PWD Inspector at least three (3) days prior to the start of construction of any SMP, including installation of any water quality device. SMP installation must be observed by the PWD Inspector.

- Provide the PWD Inspector with an estimated schedule for the placement of any of the following: geotextile, stone, filter media, underdrain piping, etc.

- Provide the following information about the SMP:

| Required Documents | Receipt # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Copies of receipts for the containment structure for the media filter |  |  |
| Copies of receipts for filter media |  |  |
| Copies of receipts for underdrain |  |  |
| Copies of receipts for stone |  |  |

| Required Reports and Certifications | Receipt # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Report demonstrating that stone was washed per AASHTO T-11 Standards (< 0.5% wash loss) |  |  |
| Certification by installer of geomembrane impervious liner, if required, of the acceptability of the receiving subgrade surface upon which geomembrane is to be installed and of the condition of the unrolled geomembrane liner. |  |  |
| Certification of the qualifications for geomembrane installation crews having experience in the installation of geomembrane of the type and thickness specified. The installation supervisor shall have supervised in the field or installed at least five hundred thousand (500,000) square feet of the geomembrane material being installed. All seamers shall have at least five hundred thousand (500,000) square feet of geomembrane seaming experience. |  |  |
| Certification of the results from non-destructive and destructive testing of geomembrane seaming. |  |  |

| Required Photos | Photo # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Photo(s) of the containment structure for the media filter (include internal views) |  |  |
| Photo(s) of weir plate installation (if applicable) |  |  |
| Photo(s) of stone installation, including underdrain placement |  |  |
| Photo(s) of filter media installation |  |  |

SMP CONSTRUCTION CERTIFICATION FORM

Media Filter (Page 2 of 2)

| Required Measurement | Photo # | Measurement | Registered Professional’s Initials & Date |
| --- | --- | --- | --- |
| Filter Media Footprint |  |  |  |
| Filter Media Depth |  |  |  |
| Stone Depth |  |  |  |
| Underdrain Invert |  |  |  |
| Inflow Pipe Invert |  |  |  |
| Outflow Pipe Invert |  |  |  |
| Weir Elevation |  |  |  |
| Weir Length |  |  |  |
| Rated Pollutant Removal Efficiency (TSS) |  |  |  |
| Number of Cartridges (if applicable) |  |  |  |

By signing this form, the registered professional indicated below certifies that they, or a designee, verified the manufacturer’s specifications listed for the SMP listed above, and that, to the best of their knowledge, information, and belief, these specifications are in general accordance with the Approved PCSMP.

Please note that the specifications listed above must be reflected on the project’s Record Drawing(s). The Project’s Construction Certification Package, which must be submitted with the Record Drawing(s), must include digital copies of all SMP Construction Certification Forms (one per SMP) and digital copies of the material receipts and photographs required on these forms.

Registered Professional

_______________________________________________________________________________

Signature			Date				Name (Print)

_______________________________________________________________________________

Company					License Type & Number

SMP CONSTRUCTION CERTIFICATION FORM

Sumped/Trapped Structures (e.g., Inlets, Sumped Manholes, Outlet Structures, etc.)

(Page 1 of 2)

Project Name:	___________________PWD Tracking Number: _________________________

- Contact the project’s assigned PWD Inspector at least three (3) days prior to the start of construction of any SMP, including excavation of SMPs.  SMP installation must be observed by the PWD Inspector.

- Provide the PWD Inspector with an estimated schedule for the planned installation of the inlet, so that the Inspector can visit while structures inside the inlet are visible.

- Provide the following information about the SMP:

| Required Documents | Receipt # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Copies of receipts for precast concrete inlets/drains |  |  |
| Copies of receipts for inlet/drain grates |  |  |
| Copies of receipts for hoods/traps |  |  |
| Copies of receipts for installed precast structures |  |  |
| Photos showing sumps and traps (if required per plans) installed correctly |  |  |

| Required Photos | Photo # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Photos showing sump depth (with tape measure as size reference) |  |  |
| Photos showing traps installed correctly (including grouting) |  |  |

SMP CONSTRUCTION CERTIFICATION FORM

Sumped/Trapped Structures (e.g., Inlets, Sumped Manholes, Outlet Structures, etc.)

(Page 2 of 2)

| Component (Plan Label) | Sump Installed (Yes/No) | Hood/Trap Installed (Yes/No) | Registered Professional’s Initials & Date |
| --- | --- | --- | --- |
| Inlets Listed Individually |  |  |  |
| Trench Drains Listed Individually |  |  |  |
| Yard/Area Drains Listed Individually |  |  |  |
| Manholes Listed Individually |  |  |  |
| Outlet Control Structures Listed Individually |  |  |  |

By signing this form, the registered professional indicated below certifies that they, or a designee, were present during the installation of the required components listed above, and that, to the best of their knowledge, information, and belief, these components are in general accordance with the Approved PCSMP.

Please note that the information listed above must be reflected on the project’s Record Drawing(s). The Project’s Construction Certification Package, which must be submitted with the Record Drawing(s), must include digital copies of all SMP Construction Certification Forms (one per SMP) and digital copies of the material receipts and photographs required on these forms.

Registered Professional

_______________________________________________________________________________

Signature			Date				Name (Print)

_______________________________________________________________________________

Company					License Type & Number

SMP CONSTRUCTION CERTIFICATION FORM

Level Spreader (Page 1 of 2)

Project Name:	___________________PWD Tracking Number: _________________________

SMP Label (On Plans): __________________________________________________________

- Contact the project’s assigned PWD Inspector at least three (3) days prior to the start of construction of any SMP, including excavation of SMPs and soil testing if applicable. SMP installation must be observed by the PWD Inspector.

- Provide the PWD Inspector with an estimated schedule for the placement of any of the following: geotextile, stone, storage media, piping, soil, etc.

- Provide the following information about the SMP:

| Required Documents | Receipt # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Copies of receipts for stone (clean washed stone, if required) |  |  |
| Copies of receipts for geotextile |  |  |
| Copies of receipts for distribution pipes used in level spreader (if applicable) |  |  |
| Copies of receipts for vegetation/seeding, if required |  |  |

| Required Photos | Photo # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Photos showing depth of excavation bottom to inflow pipe invert and excavation bottom to overflow lip (with tape measure as size reference) |  |  |
| Photos showing placement of geotextile within the excavation (if applicable) |  |  |
| Photos showing the placement of clean washed stone and perforated piping (if applicable) |  |  |
| Photos showing the placement of turf reinforcement matting or geotextile fabric downstream of level spreader |  |  |
| Photos showing the area downstream of the level spreader pre-stabilized without vegetation |  |  |
| Photos showing the area downstream of the level spreader stabilized with vegetation |  |  |

SMP CONSTRUCTION CERTIFICATION FORM

Level Spreader (Page 2 of 2)

| Required Measurement | Photo # | Measurement | Registered Professional’s Initials & Date |
| --- | --- | --- | --- |
| Level Spreader Surface Area (Length and Width) |  |  |  |
| Level Spreader Depth/Height |  |  |  |
| Stone Depth |  |  |  |
| Distribution Pipe Invert |  |  |  |
| Level Discharge Elevation |  |  |  |
| Level Discharge Width |  |  |  |

By signing this form, the registered professional indicated below certifies that they, or a designee, were present during the required measurements associated with the SMP listed above, and that, to the best of their knowledge, information, and belief, these measurements are in general accordance with the Approved PCSMP.

Please note that the measurements listed above must be reflected on the project’s Record Drawing(s). The Project’s Construction Certification Package, which must be submitted with the Record Drawing(s), must include digital copies of all SMP Construction Certification Forms (one per SMP) and digital copies of the material receipts and photographs required on these forms.

Registered Professional

_______________________________________________________________________________

Signature			Date				Name (Print)

_______________________________________________________________________________

Company					License Type & Number

SMP CONSTRUCTION CERTIFICATION FORM

Low Flow Devices (Page 1 of 1)

Project Name:	___________________PWD Tracking Number: _________________________

SMP Label (On Plans): __________________________________________________________

- Contact the project’s assigned PWD Inspector at least three (3) days prior to the start of construction of any SMP, including installation of any water quality device. SMP installation must be observed by the PWD Inspector.

- Provide the following information about the SMP:

| Required Documents | Receipt # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Copies of receipts for the containment structure for the Water Quality Device |  |  |
| Copies of receipts for proprietary device, including model number |  |  |

| Required Photos | Photo # | Registered Professional’s Initials & Date |
| --- | --- | --- |
| Photo(s) of the containment structure for the proprietary device (include internal views) |  |  |
| Photo(s) of installed proprietary device |  |  |

| Required Specification | Photo # | Specification | Registered Professional’s Initials & Date |
| --- | --- | --- | --- |
| Rated Water Quality Flow Rate (cfs) |  |  |  |
| Maximum Flow Rate with Positive Overflow (cfs) |  |  |  |

By signing this form, the registered professional indicated below certifies that they, or a designee, verified the manufacturer’s specifications for the SMP listed above, and that, to the best of their knowledge, information, and belief, these specifications are in general accordance with the Approved PCSMP.

Please note that the specifications listed above must be reflected on the project’s Record Drawing(s). The Project’s Construction Certification Package, which must be submitted with the Record Drawing(s), must include digital copies of all SMP Construction Certification Forms (one per SMP) and digital copies of the material receipts and photographs required on these forms.

Registered Professional

_______________________________________________________________________________

Signature			Date				Name (Print)

_______________________________________________________________________________

Company					License Type & Number